SPECIFIER NOTE:

This specification is provided by Mid-Atlantic Coatings, Inc. as a service and is intended to be used as a guideline for preparing a project specific specification section.  Every heading may not be needed.  Delete headings not used and renumber remaining used headings to be numerically correct.

PART 1 - GENERAL

  - GENERAL REQUIREMENTS

- Work of this section as shown or specified shall be in accordance with the requirements of the Contract

Documents.

  - WORK INCLUDED

A.	Work of this section includes all labor, materials, equipment and services necessary to complete epoxy flooring incorporating ceramic coated colored inorganic quartz aggregate and integral base as selected on drawings and/or specified herein.

  - RELATED SECTIONS

- Section 03 30 00 – Concrete: To be water cured or cured suing sodium silicate curing compound.

- Division 15 – Floor Drains: Flange type.

  - REFERENCES

A.	 Society for Protective Coatings (SSPC) Specifications and Standards.

1.	SSPC-PA-3:	“A Guide to Safety in Paint Application”.

2.	SSPC-SP-13:  “Surface Preparation of Concrete”.

B.	 NACE (National Association of Corrosion Engineers)

1.	NACE Publication 6D-173, “A Manual for Painter Safety”.

2.	NACE Publication 6G-164, “Surface Preparation Abrasives for Industrial Maintenance Painting”.

C.	  ASTM (American Society for Testing and Materials)

1.	ASTM D4541 - L.R. “Standard Method for Pull-Off Strength of Coatings using Portable Adhesion Testers”.

2.	ASTM E337 - L.R. “Standard Practice Test Method for Measuring Humidity with a Psychrometer”.

3.	ASTM D4263-83 (1999), “Standard Test Method for Indicating Moisture in Concrete by the Plastic Sheet Method”.

4.	ASTM F1869-98, “Standard Test Method for Measuring Moisture Vapor Emission Rate of Concrete Subfloor Using Anhydrous Calcium Chloride”.

5.	ASTM D4414-95, “Standard Practice for Measurement of Wet Film Thickness by Notched Gages”.

6.	ICRI Guide No. 03732, “Selecting and Specifying Concrete Surface Preparation for Sealers, Coatings and Polymer Overlays,” International Concrete Repair Institute, Sterling, VA.

7.	ASTM 4262, “Standard Test Method for Measuring Surface pH of Acid Etched Concrete.”

8.	ASTM D 522, Flexibility.

9.	ASTM D 579, Compressive Strength.

10.	ASTM D 580, Flexural Strength and Modulus of Elasticity.

11.	ASTM D 790, Flexural Strength and Modulus of Elasticity.

12.	ASTM D 2047, Coefficient Of Friction.

13.	ASTM D 2240, Hardness (Shore D Durometer).

14.	ASTM D 2794, Impact.

16.	ASTM D 3359, Adhesion.

17.	ASTM D 3363, Hardness.

18.	ASTM D 4060, Abrasion.

19.	ASTM D4259, “Standard Practice for Abrading Concrete

  - SUBMITTALS

- General: Submit the following in accordance with Conditions of Contract and Division I Specification

Sections.

- Product Data: Submit manufacturer’s technical data, application instructions, performance criteria and

general recommendation’s for epoxy solid and decorative colors for the flooring specified herein.

C.	Samples

1.     For initial selection purposes in form of manufacturer’s color charts showing range of standard colors

available.

2.	Submit 2-1/2” x 4” samples in color and quartz aggregate combination as selected.

D. 	Material certificates signed by manufacturer certifying that the decorative quartz epoxy flooring submitted complies with the requirements specified herein.

E.	Maintenance Instructions: Submit manufacturer’s written instructions for recommended maintenance practices.

  - QUALITY ASSURANCE

- Installer Qualifications: Engage an experienced installer or applicator that has specialized in installing

resinous flooring types similar to that required for this Project and who is acceptable to manufacturer of primary materials.

- Single Source Responsibility: Obtain epoxy component of flooring materials, including primers, resins,

hardening agents, and finish or sealing coats, from a single manufacturer. Obtain ceramic-coated quartz aggregate from primary manufacturer of that product.

1.7 	DELIVERY STORAGE AND HANDLING

A.	Deliver materials in original packages and containers with seals unbroken and bearing manufacturer’s labels

containing brand name and directions for storage and mixing with other components.

- Store materials to comply with manufacturer’s directions to prevent deterioration from moisture, heat, cold,  	direct sunlight, or other detrimental effects.

1.8 	PROJECT CONDITIONS

A.	Environmental Conditions: Comply with epoxy resin composition flooring manufacturer’s directions for

maintenance of ambient and substrate temperature, moisture, humidity, ventilation, and other conditions

required executing and protecting work.

- Lighting: Permanent lighting will be in place and working before installing decorative quartz epoxy

flooring.

PART 2 - PRODUCTS

  - MATERIALS

- Thin film epoxy flooring systems listed herein shall be Strata-Shield products as manufactured by Tnemec Company, Baltimore, MD. Tel: 877-330-6645,

B.	  Equivalent materials of other manufacturers may be substituted only by approval of the Architect. Requests for substitution shall include manufacturer’s literature for each product giving the name, generic type, descriptive information, solids by volume, test data and requirements, recommended film thicknesses an a list of five projects where each product has been used and rendered satisfactory service.  No request for substitution shall be considered that would decrease film thickness or offer a change in the generic type of coating, performance criteria stated herein or flooring specified.

C. 	Bidders desiring to use coatings and floorings, other than those specified, shall submit those with their

proposal based on the specified materials, and indicate the sum which will be added to or deducted from the

base bid should alternate materials be accepted.

- Products for each specified function and system shall be of a single manufacturer.

  - EPOXY PRIMER

A. 	Strata-Shield Series 201 Epoxoprime

1.	Generic Type: Modified Polyamine Epoxy

2.	Finish: Clear

3.	Properties:

a.	Solids by Volume: 100%

b.	VOC Content: 0.24 lbs/gallon (28 grams/litre)

4.	Performance Criteria:

a.	Compressive Strength (ASTM C 579) - 6,866 psi (47.34 MPa)

b.	Hardness (ASTM D 2240) - Shore D Durometer Rating 68

c.	Adhesion (ASTM D 4541) - 400 psi (100% Concrete Failure)

d.	Abrasion Resistance (ASTM 4060) - 69 mg loss

e.	Tensile Strength (ASTM D 638) - 4,871psi (33.59 MPa) Tensile Strength

f.	Flexural Strength (ASTM D 790) - 12,873 psi (88.76 MPa) Flexural Strength

g.	Modulus of Elasticity (ASTM D 790) - 5,273.5 psi (36.4 MPa) flexural strength 553,832 psi

h.	Stain Resistance (ASTM D 1308) - No effect

after 24 hrs exposure to; grape jam, fountain ink, coffee, crayon, vegetable oil, dish soap, lyscol,

margarine, red lipstick.

i.	Impact (ASTM D 635) - 100 inch pounds (11.3 J) average, direct impact.

j.	Coefficient of Friction (ASTM D 2047) - 0.88 static coefficient of friction.

k.	Humidity (ASTM D 4585) - No blistering, cracking or delamination of film after 1,500 hours exposure.

  - EPOXY COATING

- Strata-Shield Series 280 Tneme-Glaze

1.	Generic Type: Modified Polyamine Epoxy

2.	Finish: Pigmented, Gloss

3.	Properties:

a.	Solids by Volume: 100%

b.	VOC Content: 0.24 lbs/gallon (28 grams/litre)

4.	Performance Criteria

a.	Compressive Strength (ASTM C 579) - 15,567 psi

b.	Hardness (ASTM D 2240) - Shore D Durometer Rating 81

c.	Adhesion (ASTM D 4541) - 400 psi (100% Concrete Failure)

d.	Water Vapor Transmission (ASTM D 1653) - 0.20% Perms

e.	Abrasion Resistance (ASTM 4060) - 55.mg loss

f.	Tensile Strength (ASTM D 2370) - 1,238 psi (15.1 MPa) Tensile Strength

g.	Impact (ASTM D 635) - 115 inch pounds, direct impact

h.	Coefficient of Friction (ASTM D 2047) - 0.87 static coefficient of friction

i.	Steam Resistance (2500 F Steam at 15-17 psi) - No blistering, cracking, checking, gloss loss or delamination of film after 4 hours continuous exposure.

j.	Stain Resistance (ASTM D 1308) - No blistering, cracking, gloss loss, softening, staining or delamination of film after 24 hours exposure & cleaning with 409 cleaner; Catsup, Mustard.

  - POLYURETHANE COATING

- Strata-Shield Series 248 Everthane (Optional) Use for color stability and additional abrasion resistances. *Delete if not required*

1.	Generic Type: Aliphatic Moisture Cured Urethane

2.	Finish: Pigmented & Clear

a.	Series 247 (gloss)

b.	Series 248 (satin)

3.	Properties:

a.	Solids by Volume: 92.0% +/- 2.0%

b.	VOC Content: 0.74 lbs/gallon (89 grams/litre)

4.	Performance Criteria:

a.	Abrasion (ASTM D 4060, CS-17 Wheel, 1,000 grams load) – No more than 21 mg loss after 1,000 cycles.

b.	Adhesion (ASTM D 4541, Method B Crosshatch) - 400 psi (100% Concrete Failure)

c.	Chemical Resistance (TTM-59 Covered Spot Test) – No blistering, cracking, checking or delamination of film. No more than slight softening or very slight swelling and loss of gloss after (24) hours exposure to the following reagents; 10% Sulfuric Acid, 10% Hydochloric Acid, 50% Phosphoric Acid, 10% Acetic acid, 10% Ammonium Hydroxide, Methyl Ethyl Ketone, Hexane, Xylene, Gasoline, Ethylene Glycol, Skydrol, Brake Fluid, Transmission Fluid, Aviation Gas and Jet Fuel (JP4).

d.	Coefficient of Friction (ASTM D 2047) – No less than 0.61 static coefficient of friction.

e.	Graffiti Resistance (TTM-74) – Graffiti reagents applied to coating & allowed to dry (7) days. Removal first attempted with 409 cleaner & if graffiti remained then xylene was used. Complete & easy removal of the following graffiti materials; Acrylic Paint, Epoxy Spray paint, Ballpoint Ink, Crayon, Markette Marker and Lipstick.

f.	Hardness (ASTM D 3363) – Not less than a rating of 2H (gouge).

e.	Stain Resistance (ASTM D 1308) - No effects after (24) hours exposure to the following reagents; 5% Soap Solution, Ethyl Alcohol, 5% Sodium Hydroxide, Black Shoe Polish, Catsup, Coffee, Tea, Crayon, Dish Soap, French Dressing, Grape Jam, Lime Juice, Lipstick, Mustard, Toothpaste, Vegetable Oil, Vinegar, Lighter Fluid and 409 Cleaner.

  - SUPPLEMENTAL MATERIALS

A.	Waterproofing Membrane for Elevated Slabs

1.	Strata-Shield Series 206 Sub-Flex EP (Optional) *Delete if not required*

2.	Generic Type: Flexible Epoxy

3.	Color: 33GR Gray (Contact Tnemec for Special Colors)

4.	Properties:

a.	Solids by Volume: 100% +/- 2.0%

b.	VOC Content: 0.03 lbs/gal (4 grams/litre)

5.	Performance Criteria:

a.	Hardness (ASTM D 2240) - Type A Durometer Hardness of 98

b.	Adhesion (ASTM D 4541) - 400 psi (100% Concrete Failure)

c.	Abrasion Resistance (ASTM 4060) - 73 mg loss

d.	Tensile Strength (ASTM D 2370) - 1,944 psi (13.4 MPa) Tensile Strength

e.	Elongation (ASTM D 2370) - 94.5% Elongation and 382,600 psi (2,637 MPa) Tensile modulus of Elasticity

f.	Tear Strength (ASTM D 5601) - Not less than 7.5 pounds-force (33N) tear strength

g.	Impact (ASTM D 635) - 160 inch pounds (18.08 J) average, direct impact

PART 3 - EXECUTION

3.1  	  INSPECTION

- A.	Examine the areas and conditions where epoxy flooring is to be installed and notify the

- Architect of conditions detrimental to the proper and timely completion of the work. Do not proceed with

- the work until satisfactory conditions have been corrected by the Contractor in a manner acceptable to the

- Architect.

  - PREPARATION

A.	Substrate: Perform preparation and cleaning procedures according to the flooring manufacturer’s

instructions for particular substrate condition involved, and as specified.

- Concrete Surfaces: Shot-blast or mechanically abrade to remove laitance, curing compounds, sealers and

other contaminants and to provide surface profile. (Reference ASTM D4259, ICRI CSP 3-6). Remove grease, oil, and other penetrating contaminates. Repair damaged cracks and deteriorated concrete to an acceptable condition. Use an acceptable patching material recommended by the flooring manufacturer.

- Materials: Mix epoxy resin components when required, and prepare materials according to flooring system

manufacturer’s instructions.

  - APPLICATION

- Moisture Content: Allow new concrete to cure for 28 days.  Verify dryness by testing for moisture with a

“plastic film tape-down test”.  (Reference ASTM D4263).

1.	Should moisture be detected, perform “Standard Test Method for Measuring Moisture Vapor Emission Rate of Concrete Sub-floor Using Anhydrous Calcium Chloride.” (Reference ASTM F 1869). Moisture content not to exceed three pounds per 1,000 sq ft in a 24 hour period.

- General: Apply each component of the epoxy system according to manufacturer’s directions

to produce a uniform monolithic flooring surface of thickness indicated.

- Primer Coat: Strata-Shield Series 201 Epoxoprime at 8.0 to 10.0 mils. or 160 to 200 sq ft per gallon.

- First Coat: Strata-Shield Series 280-color Tneme-Glaze at 8.0 to 10.0 mils. or 160 to 200 sq ft per gallon.

- Finish Coat: Strata-Shield Series 280-color Tneme-Glaze at 8.0 to 10.0 mils. or 160 to 200 sq ft per gallon.

- (Optional Coat) Strata-Shield Series 247 or 248-color Everthane at 2.0 to 3.0 mils or 487 to 730 sq ft per gallon. NOTE: Before top-coating with Series 247, previous coat must be thoroughly scarified using a power sander with 100 grit sandpaper, No. 60 mesh sanding screen or a course stripping pad to eliminate surface tension. Failing to uniformly degloss the entire surface or thoroughly clean all surface contamination may lead to fisheyes and/or poor adhesion.

- Total DFT: 24.0 to 30.0 mils. (without Series 247/248)

  - COVE BASE

- Install 4” cove base in accordance with the manufacturer’s recommendations and installation procedures as listed in the application guide.

- Cove base material shall utilize the same materials as listed in Section 3.3 or with special coving materials recommended by the coating manufacturer.

  - CLEANUP

A.	Remove waste materials, rubbish, and debris and dispose of them at the owner’s direction.  Leave work

areas in a clean and tidy condition.

  - PROTECTION

- Protect the completed work from water, airborne particles or other surface contaminants until cured for a

minimum of 24 hours after application.

- Protect from traffic, physical abuse, immersion and chemical exposure until the complete system has

thoroughly cured for 24 hours at 75 degrees F.  For different temperatures, consult the manufacturer’s representative about curing times.

  - CURING PROTECTION AND CLEANING

- Cure epoxy flooring material according to manufacturer’s directions, taking care to prevent contamination

- during application stages and before completing curing process, Close application area for a minimum of 24

- hours.

  - JOINTS

- Cracks and control joints, construction joints, expansion joints, and all flooring system

- terminations shall be installed as indicated on the Standard Flooring Details.

END OF SECTION